PAPER-I

SUBJECT RELATED PAPER (Subject:  INSTRUMENTATION) 	SUBJECTIVE TYPE

THIS PART CONTAINS 20 QUESTIONS

ONLY 10 QUESTIONS ARE TO BE ATTEMPTED

ALL CARRY EQUAL MARKS

TOTAL MARKS/MAXIMUM MARKS: 100

TIME ALLOWED: 2 HOURS

NO NEGATIVE MARKING

Model Questions:

- Explain the on-line Instrumentation and real time Instrumentation in the present day automated Industries.

- What are the features of IEEE-488 field bus? Explain the operational steps of hand-shaking mechanism

- Indicate the additional considerations and provisions necessary for Medical Diagnostics in comparison to Industrial Diagnostics.

- List various analytical signals and their corresponding Analytical Techniques/Methods and their application?

- Discuss the nature of problems encountered while making measurement of physical and chemical quantities.

- What are data acquisition systems? Describe their role of  Instrumentation in it.

- A single phase 120V, 60 Hz, four-pole capacitor run motor has the following equivalent circuit parameters: Running capacitor C = 30 μF, Turns ratio: a = Na /Nm =1

Xim=2.0 Ω 	Rim=1.5 Ω 	R’2 =1.5 Ω

X1a=2.0 Ω 	R1a=2.5 Ω 	X’2 =1.5 Ω

Xmag = 2.0 Ω

Draw an equivalent circuit based on the double revolving filed theory when the motor is running at a slip of 0.05.

- How to construct a three-phase inverter using a single-phase half-bridge inverter as a building block? Show that the circuit diagram and waveforms.

- A coil wound on a magnetic core is excited by the following voltage sources

- 100V, 50Hz

- 110V, 60Hz

Compare the hysteresis losses and eddy current losses with the two different sources. For hysteresis loss consider n=2.

- Expand the abbreviations HDL,VHDL, ASIC, PLD, FPGA. Using flow chart design process describe the HDL simulation and synthesis.

- Elucidate the function of State Box, Decision Box, and Conditional Box in ASM Chart. (Algorithmic State Machines)

PAPER-II

SUBJECT RELATED PAPER (Subject:  INSTRUMENTATION) 	OBJECTIVE TYPE

THIS PART CONTAINS 25 OBJECTIVE TYPE QUESTIONS

ALL QUESTIONS ARE COMPULSORY

ALL CARRY EQUAL MARKS

TOTAL MARKS/MAXIMUM MARKS: 50

TIME ALLOWED : 1 HOUR

NO NEGATIVE MARKING

Model questions objective type:

- One of the disadvantages of a successive approximation converter is that:

  - it is very expensive.

  - the input must not change too fast.

  - its output is limited to 8 bits.

  - it is inaccurate.

- A linear second order system with the transfer function G(s)=49/(s²+16s+49) is subjected to a step input. The response of the system will exhibit a peak overshoot of

(a) 16%                               (b) 9%

(c) 2%                                 (d) zero

- Selsyn is the trade name of

(a) Spinning top                   (b) rotating transformer

(c) Rotating capacitor          (d) synchros

- Synchro generator and motor are

(a) 3-Ø ac device                    (b) single phase ac devices

(c) dc devices                        (d) 2-Ø ac devices

- The system response can be tested better with

(a) Sinusoidal input signal             (b) ramp input signal

(c)  Unit impulse damping signal   (d) exponential decaying signal

Q1. If Vm is the peak voltage across the secondary of the transformer in a half wave rectifier (without any filter) then the PIV of the non-conducting diode will be

- (a) 2Vm          (b) Vm              (c) Vm/2             (d) Vm/4

Q2.  A small increase in the collector reverse bias will cause

(a) a large increase in the emitter current		(b) a large decrease in the collector current

(c) a large increase in the collector current		(d) a negligible change in the reverse saturation current

Q3.  A transistor connected in common base configuration has

(a) a low input resistance and high output resistance.		(b) a high input resistance and high output resistance

(c) a high input resistance and low output resistance		(d) a low input resistance and low output resistance